







Request for Food Establishment Plan Review

         NEW______          REMODEL(Permitted Establishment ONLY)_______          RE-SUBMITTAL ________

            (NOTE: Remodel of existing buildings without a current food permit or undergoing ownership change will be classified as “NEW”)
Date Plans Submitted: ________Projected Starting Date:________Projected Opening Date:__________

(  ) Plan Designer Contact Name: ______________________________ Phone: (_____)________________

(  ) General Contractor: _________________________________________ Phone:(_____)_____________


(  ) Local Contact Person________________________________________ Phone:(_____)_____________

Title (Owner, Manager, Applicant, etc.)_____________________ Fax: (_____)________________________
Place “X” in parenthesis next to the desired person/point-of-contact

Establishment Name ____________________________________________________________________

Establishment Address ___________________________________________________Zip______________







Street



City


Name of Owner________________________________________ Phone:(_____)___________________


Mailing Address________________________________________________________________________






Street



City



Zip Code

           Fax: (_____)______________________________  Email: ________________________________________
Food Establishment Info: 

1. ____Food Service    ____Retail Food Store   ____ Food Product Manufacturer _____Food Warehouse

      ____Institution     ____Day Care    ______ Other ____________________

2. Will this facility be used for Catering? ______ Name of Lessee ____________________
3. Total Sq. Footage of Facility:  __________ Remodel Sq. Footage:  __________ Number of Seats ______ 

4. Type of Service: Check all that apply

____Seated   ____ Carry Out   ____Caterer   ____ Other

5. Total Number of Staff ______         
Maximum Working per Shift ______

6. Number of Floors on which operations are conducted ____________

7. Type of Food________________________________________________________________________
8. Meals to be Served: Breakfast_________ Lunch ________ Dinner__________

9. Water Supply ___________________________________________________________

10. What is the capacity of the hot water generator? _________ gallons

11. Waste Water:  Municipal sewer?_____  If NO,  Private septic system approved?_____ (attach approval)
12. Is a grease trap provided, if so where?______________________________ Number of gallons________
         SUBMIT THE FOLLOWING DOCUMENTS:

            ______ 1) Plans (3 sets) drawn to scale of food establishment showing location of ALL food equipment,

      plumbing fixtures, toilet facilities, electrical services and mechanical ventilation.  Plans must be a

      minimum of 11 x 14 inches in size and accurately drawn to a minimum scale of ¼” = 1 foot.
            ______ 2) Site Plan Location of Building including location of any outside equipment including

                             dumpsters, well, septic system, etc

            ______ 3) Manufacturer Specification Sheets for each piece of equipment (refrigeration, water

                              heaters, warmers, etc.)
            ______ 4) Proposed menu (including seasonal, off site and banquet menus)

            ______ 5) Equipment List

______ 6) Finish Schedule (PLEASE COMPLETE ATTACHED SCHEDULE OF FINISH MATERIALS)
         Contents and Format of Plans and Specifications

1) Provide plans that are a minimum of 11 x 14 inches in size including the layout of the

floor plan, accurately drawn to a minimum scale of  ¼”= 1 foot.  

2) Show the location of all food equipment, fixtures, sinks, toilet facilities, etc. 

      Each piece of equipment must be clearly labeled on the plan with its common name. 

      Submit drawings of self-service hot and cold holding units with sneeze guards.

3) Provide room size, aisle space, space between and behind equipment and the placement

of equipment on the floor plan.

4) Designate clearly on the plan all refrigeration equipment and hot hold equipment.

5) Designate auxiliary areas such as storage rooms, garbage rooms, toilets, cellars used for

food storage or preparation and employee break rooms (if provided).

An area for storage of employee personal items is required.

6) Designate materials used in each room including floors, walls and ceilings.

7) Plumbing: specify location of floor drains, floor sinks, water supply lines,

overhead waste-water lines, hot water generating equipment with capacity and recovery
rate, backflow prevention, and wastewater line connections.

8) Lighting: (1) At least 10 foot candles required in walk-in refrigeration units and dry storage

areas  (2) At least 20 foot candles where food is provided for customer self-service such as

buffets and salad bars or where fresh produce or packaged foods are sold, inside equipment

such as reach-in and under-counter refrigerators, areas used for hand washing, ware washing, equipment and utensil storage and toilet rooms  (3) At least 50 foot candles at surfaces                         where employees are working with food using utensils or equipment such as knives, 

slicers, grinders, or saws and where employee safety is a factor.

                         9)  Ventilation of each room

 10) Location of mop sink or curbed cleaning facility with facilities for hanging wet mops

 11) Cabinets or area for storing toxic chemicals

SCHEDULE OF FINISH MATERIALS
	
	FLOORS
	WALLS
	CEILINGS

	Kitchen
	
	
	

	Bar
	
	
	

	Food Storage
	
	
	

	Other Storage
	
	
	

	Toilet Rooms
	
	
	

	Dressing Rooms
	
	
	

	Garbage/Refuse Area
	
	
	

	Mop Service Basin
Area
	
	
	

	Ware washing Area
	
	
	

	Walk-ins
(Refrigerator/Freezer)
	
	
	


Fees:

            Plan Review

              New Establishment or Change of Owner-------------------------- $125.00

             Remodel of Permitted Food Establishment------------------------ $90.00

             Re-Submittal --------------------------------------------------------------- $50.00                                                                      

             Plans left over 60 days will be discarded and a new review will be required.

             Make Checks out to City of Lago Vista and remit to:  
City of Lago Vista/Development Services

P.O. Box 4727
Lago Vista, TX 78645

(Walk-Ins)

5803 Thunderbird, Suite 103

Lago Vista, TX 78645

Operational Permit approval is based upon the plan review and a final certificate of occupancy from the City of Lago Vista building officials as well as a signed application and payment.
           Any changes to the plan specifications, equipment or operation must receive approval 

             from the city designated plan reviewer.  


[image: image1.emf]
Office Use Only


Permit # ________________	   Date Received _____________ 	     Amt $_________________         Check# _________________     


Reviewed By _____________	   Date Reviewed_____________	     Received By ____________        Receipt # ________________		








City of Lago Vista/Development Services


P.O. Box 4727, Lago Vista, TX 78645


Phone (512) 267-5259   Fax (512) 267-5265








